PART REF: METSEEM6400NGPOCL1

DESCRIPTION-LOAD MANAGER: EM  6400 CL1.0 NG POP

PART REF-METSEEM6400NGPOCL5

DESCRIPTION-LOAD MANAGER: EM 6400 CL0.5S NG PO

PART REF-METSEEM6400NGRSCL1

DESCRIPTION-LOAD MANAGER: EM6400 CL1.0 RS485 NG

PART REF-METSEEM6400NGRSCL2

DESCRIPTION -LOAD MANAGER: EM6400 CL0.2 RS485 NG

PART REF- METSEEM6400NGRSCL5

DESCRIPTION -LOAD MANAGER:EM6400 CL0.5S RS485 NG

PART NO-METSEEM6436HCL10RS

DESCRIPTION -EM6436H CL1.0 RS

PART NO-METSEEM6436HCL05RS

DESCRIPTION -EM6436H CL0.5 RS

PART NO-METSEEM6436HCL10

DESCRIPTION -EM6436H CL1.0NC

PART NO-METSEEM6438HCL10RS

DESCRIPTION -EM6438H CL1.0 RS

PART NO-METSEEM6438HCL05RS

DESCRIPTION -EM6438H CL0.5 RS

PART NO-METSEEM6433HCL10RS

DESCRIPTION -EM6433H CL1.0RS

PART NO-METSEEM6433HCL05RS

DESCRIPTION -EM6433H CL0.5RS

PART NO- METSEPM1130HCL05RD

DESCRIPTION -PM1130H CL0.5 RS

PART REF-30002365

DESCRIPTION -AMMETER - DM1110 CL 1.0

PART REF-30002366

DESCRIPTION -AMMETER – DM1210 CL 1.0

PART REF-30002367

DESCRIPTION -FREQUENCY METER - DM 1310 CL 0.2

PART NO-30002385

DESCRIPTION - AMMETER - DM3110 CL 1.0

PART NO-30002386

DESCRIPTION -VOLTMETER - DM3210 CL 1.0)

PART NO-30002459

DESCRIPTION -AMMETER - DM1110 CL 0.5

PART NO- 30002460

DESCRIPTION-VOLTMETER - DM1210 CL 0.5

PART NO-30002461

DESCRIPTION-AMMETER - DM3110 CL 0.5

PART NO-30002462

DESCRIPTION-VOLTMETER-DM3210 CL 0.5

## PART REF-30000409

## DESCRIPTION-ELF3234-3 CI1.0,

# PART REF-30000859

# DESCRIPTION-ELF3234 CI1.0,

PART NO-30002055

DESCRIPTION(DEMAND CONTROLLER:EM 7230 CL1.0 RS485)

PART NO-30002198

DESCRIPTION-DEMAND CONTROLLER:EM 7280 CL 0.5 RS485

PART NO-30002975

DESCRIPTION-DEMAND CONTROLLER:EM7290 CL 0.2 RS485

PART NO-30002568

DISCRIPTION-ENERGY METER:EM1000 CL.1.0 WITH POP

PART NO-30002565

DESCRIPTION-ENERGY METER - EM1200 CL1.0 RS485

PART NO30002566

DESCRIPTION-VAF METER DM6300 CL1.0 WITH RS485

PART NO-30002567

DESCRIPTION-VAF METER - DM6100 CL1.

PART NO-30002569

DESCRIPTION-VAF METER - DM6100 CL0.5

PART NO-30003006D

DESCRIPTION-POWER METER:PM5330

PART NO- 30003006D

DESCRIPTION-POWER METER:PM5330

PART NO-30003005D

DESCRIPTION-POWER METER:PM5320

PART NO-30003007D

DESCRIPTION-POWER METER :PM5340 CL.0.5S RS

PART NO-30003008D

DESCRIPTION-POWER METER:PM5560 CL0.02S RS485

PART NO-51207

DESCRIPTION- 6 STAGE RELAY:APFC

PART-51209

DESCRIPTION-8 STAGE RELAY:APFC

PART NO-51213

DESCRIPTION-12 STAGE RELAY:APFC

PART NO-A9MEM3150

DESCRIPTION-ENERGY METER:A9MEM3150

PART NO-A9MEM3350

DESCRIPTION-TRIPHASE KWH METERS:A9MEM3350

PART NOMETSEEM1220HCL1

DESCRIPTION- EM1220H CL1.0 RS

PART NO-METSEEM6459HCL05RS

DESCRIPTION-EM6459H CL0.5 RS 485

PART NO-METSEEM6459HCL10NC

DESCRIPTION-VAF EM6459H CL1.0

PART NO-METSEEM6459HCL10RS

DESCRIPTION-EM 6459H CL 1.0 RS

PART NO-METSEPM1125HCL10RD

DESCRIPTION -EASY LOGIC PM1125H P&E THD RS485D CL 1.0

PART NO-METSEPM2130D

DESCRIPTION - PM2130 CL0.5S RS485

PART NO-PM200MG

DESCRIPTION -POWER METER:PM200MG

PART NO-PM820MG

DESCRIPTION -POWER METER:PM 820 MG

PART NO-PM870MG

DESCRIPTION -POWER METER:PM870 MG

PART NO-METSEPM2220D

DESCRIPTION -PM2220 POWER METER CL 1.0 RS485

PART NO-METSEPM2230D

DESCRIPTION -POWER AND ENERGY METER:PM2230  RS 485 CL .0.5S

PART NO-METSEPM8240

DESCRIPTION -PM8240

PART NO-METSEION92040

DESCRIPTION-ION9000 STANDARD CVM STANDARD PSU W/ RMD

PART NO-LC1DFKM7

DESCRIPTION -SCHNEIDER MAKE:CONTACTOR 12.5KVAR

PART NO-LC1DGKM7

DESCRIPTION -SCHNEIDER MAKE:CONTACTOR 16.7 KVAR

PART NO-LC1DMKM7

DESCRIPTION -SCHNEIDER MAKE:CONTACTOR 25KVAR

PART NO-LC1DPKM7C

DESCRIPTION -SCHNEIDER MAKE:CONTACTOR 33.3

PART NO-LC1DTKM7C

DESCRIPTION -SCHNEIDER MAKE:CONTACTOR 40 KVAR

PART NO-LC1DWK12M7

DESCRIPTION -CONTACTOR CAPACITOR SWITCHING)

PART NO-LVR07050A44LO

DESCRIPTION -REACTOR 5 KVAR 7%

PART NO-LVR07100A44LO

DESCRIPTION -REACTOR 10KVAR 7%

PART NO-LVR07150A44LO

DESCRIPTION -REACTOR 15 KVAR 7%

PART NO-LVR07250A44LO

DESCRIPTION -REACTOR 25KVAR 7%

PART NO-LVR07500A44LO

DESCRIPTION -REACTOR 50KVAR 7%

PART NO-LVR07X00A44LO

DESCRIPTION -(REACTOR 100 KVAR 7%

PART NO-MEHVCHDY050A44

DESCRIPTION -5KVAR HD 440V

PART NO-MEHVCHDY100A44

DESCRIPTION -10KVAR HD -440V

PART NO-MEHVCHDY150A44

DESCRIPTION -15KVAR HD -440V

PART NO-MEHVCHDY200A44

DESCRIPTION -20KVAR HD 440V

PART NO-MEHVCHDY250A44

DESCRIPTION -(25KVAR HD 440V)

PART NO-MEHVCHDY500A44

DESCRIPTION -50KVAR HD 440V

PART NO-MEHVCGSF050A44

DESCRIPTION -5 KVAR GAS CAN 440V

PART NO-MEHVCGSF056A48

DESCRIPTION -5.6 KVAR GAS HD CAN 480V

PART NO-MEHVCGSF100A44

DESCRIPTION -10 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF113A48

DESCRIPTION -11.3 KVAR GAS HD CAN 480V

PART NO-MEHVCGSF125A44

DESCRIPTION -12.5 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF150A44

DESCRIPTION -15 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF170A48

DESCRIPTION -17 KVAR GAS HD CAN 480V

PART NO-MEHVCSDY010A44

DESCRIPTION -CAPACITOR:1KVAR-CAN)

PART NO-MEHVCSDY040A44

DESCRIPTION -CAPACITOR:4 KVAR-CAN)

PART NO-MEHVCSDY050A44

DESCRIPTION -CAPACITOR:5 KVAR-CAN

PART NO-MEHVCSDY075A44

DESCRIPTION -CAPACITOR:7.5KVAR-CAN)

PART NO-MEHVCSDY100A44

DESCRIPTION-CAPACITOR:10 KVAR-CAN

PART NO-MEHVCSDY125A44

DESCRIPTION-CAPACITOR:12.5 KVAR-CAN

PART NO-MEHVCSDY150A44

DESCRIPTION-CAPACITOR:15 KVAR-CAN

PART NO-MEHVCSDY200A44

DESCRIPTION-CAPACITOR:20 KVAR-CAN

PART NO-MEHVCSDY250A44

DESCRIPTION-(CAPACITOR:25 KVAR-CAN)

PART NO-MEHVCGSF500A44

DESCRIPTION -50 KVAR GAS CAN 440V

PART NO-MEHVCGSF250A44

DESCRIPTION-25 KVAR GAS CAN 440V

PART NO-MEHVCGSF100A44

DESCRIPTION-10 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF050A44

DESCRIPTION-5 KVAR GAS CAN 440V

PART NO-MEHVCGSF125A44

DESCRIPTION-12.5 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF150A44

DESCRIPTION-15 KVAR GAS CAN HD 440V

PART NO-MEHVCGSF200A44

DESCRIPTION-20 KVAR GAS CAN 440V

PART NO-MEHVCHDY056A48

DESRIPTION-5.6KVAR HD CAPACITOR 480V

100A 4P ATS

400A 4P ATS

48V LITHIUM BATTERY

48V 5A CHARGER

60V LITHIUM BATTERY

60V 5A CHARGER

ETHERNET MODULE (PM8ECC)

IH100WFVDP (SMART DOORBELL)

IH101ZWIFI (AUTOMATION GATEWAY)

IH11000200

NOVAK  MIG WELDING WIRE

SUPER SONIC SEMI AUTOMATED WELDING MACHINE